ENDISYS ENVIRONMENTAL SAMPLE ENGINEERING SPECIFICATION

SECTION 0200

ENGINEERING SPECIFICATION: CONTROL PANEL

PART 1— GENERAL
1.1
SCOPE

1.1.1
Manufacturer shall furnish an industrial control panel for use with a 

ground water treatment system.

1.2
DESCRIPTION

1.2.1
The control panel controls all motor-driven and other electrically operated 
equipment comprising the remediation system. The various components are fully 
interlocked for fail-safe operation. The operation of all driven components can be 
manually overridden for equipment startup or troubleshooting. The status of all 
components and alarms is indicated via illuminated devices located on the door 
of the enclosure, or on the swing-out panel of dead-front panels.

1.3
SUBMITTALS

1.3.1
Manufacturer shall submit the following with the bid:

1.3.1.1

Product data for selected model, including standard features, 



options, and warranty coverage. See attached Data Sheet for full 



specification.

PART 2 — PRODUCTS

2.1
GENERAL

2.1.1
System shall be manufactured by EnDiSys Environmental Systems, Inc. and 
represented by or pre-approved equivalent.

2.1.2
Control panel design and performance shall meet requirements specified on the 
attached Data Sheet.

2.2
EQUIPMENT DESIGN REQUIREMENTS

2.2.1
Control panel shall be designed and built to UL508 Industrial Control Panel 
requirements.

2.2.2
Control panel shall be manufactured in a listed Industrial Control Panel 
Manufacturing Facility.

2.2.3
Control panel enclosure shall be a Type 4 as required for 



the application.

2.2.4
Control panel components shall be industrial quality
 



( IEC style motor starters



( fuses



( transformers



( timing relays



( intrinsically safe components (as required)
2.2.5
Control panel shall include the following list of features as standard equipment:



Control panel transformer (if required)



Green illuminated selector switch for control and run indicator for 



each motor



Red pilot light for each alarm condition



Main disconnect switch, externally accessible



IEC-style motor starters



Mounting kit



Alarm interlock dry contacts



Intrinsically safe components and circuits if site conditions require

2.2.6
The following options shall be available (see Data Sheet for specifications):



Alarm beacon and/or horn



Blank front panel



Control interlocks for other on-site equipment



Lightning/surge protection



Motor elapsed-time meters



Panel heater

2.3
INSTALLATION

2.3.1
Control panel shall be installed in accordance with manufacturers’        recommendations, including but not limited to the following:

2.3.1.1

The control panel shall be installed by a licensed electrician. The 



National Electrical Code and all applicable state and local codes 



shall be followed when installing this equipment. This includes but 



is not limited to any provisions for intrinsically safe or explosion-



proof wiring. The installation shall be executed in a neat and 




workmanlike manner.

2.3.1.2

At no time shall any individual tamper with or change any of the 



wiring in the control panel without the knowledge and consent of 



EnDiSys personnel. The installer shall only land wires on the field 



terminals provided and install or remove any jumpers as shown 



and indicated on the control schematics to achieve proper 




operation. Any changes made to the panel wiring other than those 



just mentioned or those approved by EnDiSys personnel, in writing, will 


result in the voiding of any warranty associated with the control 



panel or any of the connected equipment.

ENGINEERING DATA SHEET

CONTROL PANELS

REF
ITEM

SPECIFICATION(S)
1.3.1.1
GENERAL PRODUCT DATA


Model No.

None (each panel is custom manufactured)


Panel size:

24”H x 24”W x 12”D to 48”H x 36”W x 12”D





(approximate size of typical panel for stripper;





panels for larger multi-pump systems can be larger)


Site classification:

 Class I, Division 1





 Class I, Division 2





 Unclassified


Site power:

____________________ V





____________________ Hz





____________________ Ph


Motors in system: 





Where used





Qty
HP
Voltage
Phase
(i.e. pump, blower)








Interlock w/other equipment:

 Yes

 No


(i.e., catalytic oxidizer, SVE, etc.)


_______________________ Equipment type


Remote mount:

 Yes

 No

2.2.6
Options:

Alarm beacon


Check if included 




Alarm horn


Check if included 




Blank front panel

Check if included 





Lightning/surge protection
Check if included 





Motor elapsed-time meter 





    (______ hours x _____)
Check if included 





Panel heater (______ watts,






    w/thermostat)

Check if included 
Section 0200:  CONTROL PANEL Specifications

REV 110125  Copyright 2025 ENDISYS ENVIRONMENTAL

